## Info
Site | F2 Ring with spur
Notes | one RMU hung off the ring; links written both ways

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
INC | MV Incomer | Primary |  | 11 kV
PB | MV Busbar | Primary board | 1250 A | 11 kV | CB | INC
R1 | RMU | RMU 1 | 630 A | 11 kV | CB, LBS | PB, R2
R2 | RMU | RMU 2 | 630 A | 11 kV | LBS, LBS | R1, R3
R3 | RMU | RMU 3 | 630 A | 11 kV | LBS, CB | R2, PB | N.O. towards R2
RS | RMU | Spur RMU | 400 A | 11 kV | LBS | R2
T1 | Transformer | Tx 1 | 800 kVA | 11/0.4 kV | Fuse-switch | R1
T2 | Transformer | Tx 2 | 800 kVA | 11/0.4 kV | Fuse-switch | R2
T3 | Transformer | Tx 3 | 800 kVA | 11/0.4 kV | Fuse-switch | R3
TS | Transformer | Spur tx | 315 kVA | 11/0.4 kV | Fuse-switch | RS
L1 | LV Busbar | LV 1 | 1250 A | 400 V | CB | T1
L2 | LV Busbar | LV 2 | 1250 A | 400 V | CB | T2
L3 | LV Busbar | LV 3 | 1250 A | 400 V | CB | T3
LS | LV Busbar | LV spur | 500 A | 400 V | CB | TS
F1 | Feeder | Feeder | 250 A | 400 V | CB | L1
F2 | Feeder | Feeder | 250 A | 400 V | CB | L2 | Spare
F3 | Feeder | Feeder | 250 A | 400 V | CB | L3
FS | Feeder | Feeder | 100 A | 400 V | CB | LS