## Info
Site | F3 Terminal items
Notes | capacitor, NER, arrester, MV feeders

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
U | MV Incomer | Utility |  | 11 kV
MB | MV Busbar | Main board | 1250 A | 11 kV | CB | U
CB1 | Capacitor Bank | PFC bank | 2 Mvar | 11 kV | CB | MB
NER | NER | Neutral earthing resistor | 400 A | 11 kV |  | MB
SA | Surge Arrester | Arrester |  | 11 kV |  | MB
OUT | Feeder | Cable to site B | 400 A | 11 kV | CB | MB
R1 | RMU | RMU | 630 A | 11 kV | CB | MB
OUT2 | Feeder | Cable to site C |  | 11 kV |  | R1
CAP2 | Feeder | Capacitor bank on RMU | 500 kvar | 11 kV |  | R1
T1 | Transformer | Tx 1 | 1000 kVA | 11/0.4 kV | Fuse-switch | R1
L1 | LV Busbar | LV 1 | 1600 A | 400 V | CB | T1
F1 | Feeder | Feeder | 250 A | 400 V | CB | L1
PFC | Capacitor | LV PFC | 200 kvar | 400 V | CB | L1
SA2 | Arrester | LV arrester |  | 400 V |  | L1
ET | Transformer | Earthing tx |  | 11 kV | CB | MB | zig-zag, NER