## Info
Site | L5 two step-ups, export
Notes | multi-level test

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
U | MV Incomer | Utility (export) |  | 33 kV
HV | MV Busbar | 33 kV export board | 630 A | 33 kV | CB, CB | U, ET
ET | Transformer | Export tx | 20 MVA | 11/33 kV | CB | MV
MV | MV Busbar | 11 kV collector board | 1250 A | 11 kV | CB, CB | SU1, SU2
PV1 | Generator | PV block 1 | 2.5 MW | 400 V
PV2 | Generator | PV block 2 | 2.5 MW | 400 V
PVB1 | LV Busbar | PV AC board 1 | 4000 A | 400 V | CB | PV1
PVB2 | LV Busbar | PV AC board 2 | 4000 A | 400 V | CB | PV2
SU1 | Transformer | Step-up 1 | 3 MVA | 0.4/11 kV | CB | PVB1
SU2 | Transformer | Step-up 2 | 3 MVA | 0.4/11 kV | CB | PVB2
AT | Transformer | Aux tx | 250 kVA | 11/0.4 kV | CB | MV
AUX | LV Busbar | Aux board | 400 A | 400 V | CB | AT
FA | Feeder | Site services | 100 A | 400 V | CB | AUX