## Info
Site | L6 down-then-up loop
Notes | multi-level test

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
U | MV Incomer | Utility |  | 11 kV
MVA | MV Busbar | 11 kV board A | 1250 A | 11 kV | CB | U
T1 | Transformer | Dist tx | 1600 kVA | 11/0.4 kV | CB | MVA
LV | LV Busbar | LV board | 2500 A | 400 V | CB | T1
F1 | Feeder | Feeder | 250 A | 400 V | CB | LV
SU | Transformer | Step-up | 1600 kVA | 0.4/11 kV | CB | LV
MVB | MV Busbar | 11 kV board B | 630 A | 11 kV | CB | SU
TIE | Bus Coupler | A-B tie |  | 11 kV | CB | MVA, MVB | Normally open
P1 | Pump | MV pump | 500 kW | 11 kV | Fuse-contactor | MVB