## Info
Site | Tester2 W2 - 4-RMU ring
Date | 2026-09-02
Surveyed by | Tester 2
Notes | closed ring, spur, sub-ring, ATS genset

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
INC | MV Incomer | Primary substation |  | 11 kV
PB | MV Busbar | Primary 11 kV board | 1250 A | 11 kV | CB | INC
RMU1 | RMU | RMU 1 (works) | 630 A | 11 kV | CB | PB
RMU2 | RMU | RMU 2 (village) | 630 A | 11 kV | LBS | RMU1
RMU3 | RMU | RMU 3 (school) | 630 A | 11 kV | LBS | RMU2 | N.O. towards RMU4
RMU4 | RMU | RMU 4 (depot) | 630 A | 11 kV | LBS, LBS | RMU1, RMU3 | closes the ring
RS | RMU | Spur RMU (farm) | 400 A | 11 kV | LBS | RMU2
R3A | RMU | Sub-ring RMU A | 400 A | 11 kV | LBS, LBS | RMU3, R3B
R3B | RMU | Sub-ring RMU B | 400 A | 11 kV | LBS, LBS | R3A, RMU3
T1 | Transformer | Works tx, Dyn11 | 1000 kVA | 11/0.4 kV | Fuse-switch | RMU1
T2 | Transformer | Village tx | 500 kVA | 11/0.4 kV | Fuse-switch | RMU2
T3 | Transformer | School tx | 315 kVA | 11/0.4 kV | Fuse-switch | RMU3
T4 | Transformer | Depot tx | 800 kVA | 11/0.4 kV | Fuse-switch | RMU4
TS | Transformer | Farm tx | 200 kVA | 11/0.4 kV | Fuse-switch | RS
T3A | Transformer | Sub-ring tx A | 315 kVA | 11/0.4 kV | Fuse-switch | R3A
T3B | Transformer | Sub-ring tx B | 315 kVA | 11/0.4 kV | Fuse-switch | R3B
L1 | LV Busbar | Works MSB | 1600 A | 400 V | CB | T1
L2 | LV Busbar | Village LV | 800 A | 400 V | CB | T2
L3 | LV Busbar | School LV | 500 A | 400 V | CB | T3
L4 | LV Busbar | Depot MSB | 1250 A | 400 V | CB | T4
LS | LV Busbar | Farm LV | 315 A | 400 V | CB | TS
L3A | LV Busbar | Sub-ring LV A | 500 A | 400 V | CB | T3A
L3B | LV Busbar | Sub-ring LV B | 500 A | 400 V | CB | T3B
G1 | Generator | Depot standby set | 500 kVA | 400 V | CB |  | feeds L4 via ATS
ATS | Bus Coupler | ATS mains/gen |  | 400 V | CB | L4, G1 | ATS
F1 | Feeder | Works process | 400 A | 400 V | CB | L1
F1B | Feeder | Works lighting | 100 A | 400 V | MCCB | L1
F2 | Feeder | Village LV network | 400 A | 400 V | Fuse | L2
F3 | Feeder | School main DB | 250 A | 400 V | MCCB | L3
F4 | Feeder | Depot workshop | 250 A | 400 V | MCCB | L4
F4B | Feeder | Depot yard lighting | 63 A | 400 V | MCB | L4 | Spare
FS | Feeder | Farm sheds | 100 A | 400 V | Fuse | LS
F3A | Feeder | Houses A | 200 A | 400 V | Fuse | L3A
F3B | Feeder | Houses B | 200 A | 400 V | Fuse | L3B