## Info
Site | Tester2 W4 - Generation
Date | 2026-09-02
Surveyed by | Tester 2
Notes | gen board -> step-up -> MV, reversed step-up to a generator

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
U | MV Incomer | Utility 11 kV |  | 11 kV
MVB | MV Busbar | 11 kV main board | 1250 A | 11 kV | CB, CB | U, SU
G1 | Generator | Genset 1 | 1250 kVA | 400 V | CB
G2 | Generator | Genset 2 | 1250 kVA | 400 V | CB
GB | LV Busbar | Generator board | 4000 A | 400 V | CB, CB | G1, G2
FG | Feeder | Genset auxiliaries | 63 A | 400 V | MCB | GB
SU | Transformer | Step-up tx | 2500 kVA | 0.4/11 kV | CB | GB | step-up
TXR | Transformer | Gas engine step-up | 2000 kVA | 11/0.69 kV | CB | MVB | reverse column
G3 | Generator | Gas engine | 1.8 MW | 690 V | CB | TXR
TX1 | Transformer | Site tx | 1000 kVA | 11/0.4 kV | CB | MVB
LVB | LV Busbar | Site MSB | 1600 A | 400 V | CB | TX1
F1 | Feeder | Process | 400 A | 400 V | CB | LVB
F2 | Feeder | Buildings | 250 A | 400 V | CB | LVB
FO | Feeder | Export cable to grid B | 630 A | 11 kV | CB | MVB