## Info
Site | Tester2 W8 - Loads on the wrong thing
Date | 2026-09-02
Surveyed by | Tester 2
Notes | adversarial

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
INC | MV Incomer | Utility 11 kV |  | 11 kV
RMU | RMU | 3-way RMU | 630 A | 11 kV | LBS | INC
TX1 | Transformer | Main tx | 1000 kVA | 11/0.4 kV | Fuse-switch | RMU
MSB | LV Busbar | Main board | 1600 A | 400 V | CB | TX1
F1 | Feeder | Lighting | 100 A | 400 V | CB | MSB
PX | Pump | Pump named on the tx | 55 kW | 400 V | CB | TX1
MCCX | MCC | MCC named on the tx | 400 A | 400 V | CB | TX1
PX1 | Pump | Pump under MCCX | 22 kW | 400 V |  | MCCX
FD | Feeder | DB feeder | 250 A | 400 V | MCCB | MSB
MCCF | MCC | MCC on a feeder | 160 A | 400 V | CB | FD
PF1 | Pump | Pump under MCCF | 15 kW | 400 V |  | MCCF
MCCR | MCC | MCC on the RMU | 400 A | 400 V | CB | RMU
PR1 | Pump | Pump under MCCR | 30 kW | 400 V |  | MCCR
PI | Pump | Pump on the incomer | 200 kW | 11 kV | CB | INC
P3 | Pump | Board pump | 30 kW | 400 V | CB | MSB
FP | Feeder | Feeder off a pump | 32 A | 400 V | MCB | P3