## Info
Site
Date
Surveyed by
Notes

## Equipment
ID | Type | Description | Rating | Voltage | Feeds From | Notes
MV1 | MV Incomer | Utility supply |  | 11 kV |  | EXAMPLE ROW - overwrite with real data

## How to fill
HOW TO FILL THIS WORKBOOK (on site)
The Equipment sheet contains ONE example row - overwrite it with the first real item.
Yellow cells are the ones to fill in. Everything else is fixed.
1. Info sheet: site name, date, surveyor, free notes.
2. Equipment sheet: one row per item, top of the network first.
- ID: short unique tag you invent (MV1, RMU1, TX1, BB1, F1...).
- Type: pick from the dropdown (MV Incomer, RMU, Transformer,
LV Busbar, Feeder, Bus Coupler).
- Rating / Voltage: as read from the nameplate (e.g. 1000 kVA,
11/0.4 kV, 630 A, 400 V).
- Feeds From: the ID of the item supplying this one. Use a comma
for two supplies (bus coupler between BB1, BB2 - or an RMU fed
by ring incomers MV1, MV2).
3. Back at the office: python sld_sketch.py thisfile.xlsx
and you get the single-line diagram as an SVG.