## Info
Site | F13 transformers straight off the utility
Date
Surveyed by
Notes | no MV board or RMU between the incomer and the transformers: one drop each, split from the incomer

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
MV1 | MV Incomer | Utility supply |  | 11 kV
TX1 | Transformer | Substation 1 | 1000 kVA | 11/0.4 kV | Fuse-switch | MV1
TX2 | Transformer | Substation 2 | 1000 kVA | 11/0.4 kV | Fuse-switch | MV1
LV1 | LV Busbar | Main board | 2500 A | 400 V | CB, CB | TX1, TX2
F11 | Feeder | Board 1 | 250 A | 400 V | CB | LV1