## Info
Site | F7 transformers off an LV board
Notes | a motor on its own transformer under the board, and one with no load yet

## Equipment
ID | Type | Description | Rating | Voltage | Protection | Feeds From | Notes
INC | MV Incomer | Utility |  | 11 kV
RMU | RMU | RMU | 630 A | 11 kV | LBS | INC
TX1 | Transformer | Tx | 1000 kVA | 11/0.4 kV | Fuse-switch | RMU
MSB | LV Busbar | Main board | 1600 A | 400 V | CB | TX1
F1 | Feeder | Lighting | 100 A | 400 V | CB | MSB
T1 | Transformer | Motor supply | 75 kVA | 0.4/0.3 kV | CB | MSB
P1 | Pump | Well pump | 30 kW | 300 V |  | T1
M2 | Pump | Board pump | 15 kW | 400 V | CB | MSB
T2 | Transformer | Isolation tx | 50 kVA | 0.4/0.4 kV | CB | MSB | load not surveyed
F2 | Feeder | Spare | 63 A | 400 V | MCB | MSB